## Sheet1
ID | Performance Improvement Opportunity Name | Performance Improvement Opportunity Description | Related to a Significant Energy Use (SEU)? Which One? | Part of Energy Target (Enter Name) - Optional | Responsible Person | Date Identified | Estimated Annual Savings | [7 empty] | Estimated Non-Energy Benefit |  | Criteria 1 for Prioritizing (enter below) | Criteria 2 for Prioritizing (enter below) | Criteria 3 for Prioritizing (enter below) | Criteria 4 for Prioritizing (enter below) | Opportunity Score | Estimated Installation Cost | Prioritization Level | Implementation Status | Date Implementation Complete | Actual Annual Savings | [7 empty] | Actual Non-Energy Benefit | Actual Implementation Cost
[7 empty] | Total Electricity (kWh) | Natural Gas (therms) | Distillate/Light Fuel Oil (gallons) | Residual/Heavy Fuel Oil (gallons) | Coal (tons) | Other | Other | Other | Carbon Reduction [tonnes CO2] | Chemical Costs ($/yr) | Annual Energy Cost Savings | Simple Payback | Carbon Reduction | Time for Implementation
[17 empty] | (1-10) | (1-10) | (1-10) | (1-10) | [5 empty] | Total Electricity (kWh) | Natural Gas (therms) | Distillate/Light Fuel Oil (gallons) | Residual/Heavy Fuel Oil (gallons) | Coal (tons) | Other | Other | Other
WW-A01 | Upgrade to Fine-Bubble Diffusers | Replace Current Coarse-Bubble Diffusers at End of Life | Aeration | Reduce Energy Intenisty of Aeration by 15% by 2025 | Jimmy Doe | 2020-08-01 | 1072500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 948.4694 | - | 9 | 5 | 8 | 6 | 28 | 200000 | High | Under Consideration
WW-F01 | Upgrade Lighting to LED's | Replace Rest of Flurourescent Bulbs at End of Life | N / A | Reduce Non-Process Energy Consumption by 25% in 2 Years | Jane Doe | 2020-08-01 | 140000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 123.8095 | - | 2 | 8 | 2 | 9 | 21 | 35000 | High | In Progress | 2020-12-01
WW-A02 | Upgrade to Dissolved Oxygen Controls | Install Controls and Instrumentation Required for DO Controls | Aeration | Reduce Energy Intenisty of Aeration by 15% by 2025 | Jimmy Doe | 2020-08-15 | 1050000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 928.5714 | - | 7 | 6 | 7 | 7 | 27 | 150000 | High | Funded
WW-P01 | Modify Pumping & Sanitation Seasonally | Vary the pumping and sanitation controls based on seasonal variations | Pumping, Aeration, Secondary Treatment | Reduce Pumping Energy Intensity by 5% in 2 Years | John Doe | 2020-09-01 | 1400000 | 32000 | 0 | 0 | 0 | 0 | 0 | 0 | 1315.1129 | - | 9 | 3 | 9 | 2 | 23 | 200000 | Low | Not Proposed
WW-F02 | Identifty & Fix Compressed Air Leaks | Establish annual compressed air leakage survey to identify and fix compressed air leaks | N / A | Reduce Non-Process Energy Consumption by 25% in 2 Years | Jane Doe | 2020-09-15 | 350000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 309.5238 | - | 4 | 10 | 4 | 10 | 28 | 5000 | High | In Progress | 2020-12-01
WW-P02 | Increase Influent Wet Well Levels to Reduce System Head | Increase the max height alarm level of influent wet wells to reduce head of pumping system | Pumping | Reduce Pumping Energy Intensity by 5% in 2 Years | John Doe | 2020-09-15 | 245000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 216.6667 | - | 3 | 10 | 3 | 10 | 26 | 5000 | High | Funded | 2021-01-01
WW-F03 | Tune-Up Boiler | Have Boiler maintenance perform annual tune-up and optimze air-to-fuel ratio | N / A | Reduce Non-Process Energy Consumption by 25% in 2 Years | Jane Doe | 2020-08-15 | 0 | 16000 | 0 | 0 | 0 | 0 | 0 | 0 | 38.5088 | - | 1 | 7 | 1 | 7 | 16 | 15000 | Medium | Under Consideration
WW-S01 | Install Ultraviolet (UV) Radiation System for Disinfection | Replace current chlorine secondary disinfection with UV lamp system. | Secondary Treatment | Reduce Process Chemical Costs by 15% in 5 years | Jake Doe | 2020-08-01 | 0 | 0 | [6 empty] | 0 | 75000 | 0 | 5 | 0 | 5 | 10 | 150000 | Low | Not Proposed
WW-F04 | Replace Rather than Rewind Motors | Establish a facility policy of replacing old motors with new high efficiency motors, as oppposed to having them rewound | Pumping, Aeration, Secondary Treatment | Addresses Multiple Energy Targets | Jane Doe | 2020-09-15 | 350000 | 0 | [6 empty] | 309.5238 | - | 4 | 9 | 4 | 5 | 22 | 10000 | Medium | Not Proposed
WW-F05 | Install Occupancy Sensors in Seldom-Used Areas | Equip lights in pump rooms, maintenance areas, and meeting rooms with occupancy sensors | N / A | Reduce Non-Process Energy Consumption by 25% in 2 Years | Jane Doe | 2020-09-01 | 210000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 185.7143 | - | 3 | 7 | 2 | 9 | 21 | 5000 | High | Funded | 2020-12-01
OT.10.01.00