Date last modified/updated: Click here to enter a date.            Internal audit: Click here to enter a date.

For Task 2:  This part of the Navigator Playbook is completed when you have:

- Identified and recorded the interested parties relevant to your organization’s energy performance and EnMS using the Worksheet or similar document.

- Determined the needs and expectations of these interested parties as they relate to your organization’s EnMS.

- Identified the applicable legal and other requirements related to energy.

- Assigned responsibilities and establish a frequency for reviewing and updating the completed matrix.

- Implemented a process to periodically evaluate compliance with the identified requirements.

Who last modified/updated: Click here to enter text.               Management review: Click here to enter a date.

- Identify interested parties and

- Determine their needs and expectations

| Interested Party | How Relevant to EnMS? | Needs/ expectations |
| --- | --- | --- |
| City Council | High | Don’t want an increase in budget |
| Facility Management | High | Want to save energy and money while still meeting water quality requirements |
| Municipal Customers | Low | Expect clean water at a reasonable price |
| State Water Quality Agency | Low | Expect facility to meet or exceed all required water quality measures |
| Utility Providers | High | Expect relatively consistent energy consumption |

- Identify legal and other requirements

| Requirement | Issue date | Relation to energy and EnMS |
| --- | --- | --- |
| Water Quality | 01/01/2020 | EnMS can help track relevant variables and ensure water quality guidelines are always met or exceeded. |
| State & Federal Building Codes | 01/01/2018 | Any facility alterations prompted by EnMS must abide by applicable building codes |
| ISO 50001:2018 – Requirements for Energy Management | 2018 Requirements | Requirements for the establishment and execution of our Energy Management System |
| Clean Water Act-NPDES | Since 1972 | Identify if permit parameters affect the way energy is used or consumed in order to meet effluent limits. |

| Clean Air Act-Title V permit | Since 1977 | Operating permits for Anaerobic Digesters that could affect energy use, consumption and/or energy performance at the site. |
| --- | --- | --- |

|  | We have committed to meeting all of the above requirements | Confirmed. |
| --- | --- | --- |

- Assign responsibilities and establish frequency for reviewing and updating the interested parties and legal requirements tables

|  | We have established a process for evaluating and updating requirements | Confirmed. |
| --- | --- | --- |
|  | We have established a schedule and assigned responsibilities | Quarterly review and update |
|  | We have a system to ensure records of results are maintained | Shared facility Google Drive Folder |
|  | Who is responsible? | John Doe |

- Implement a process to evaluate compliance with the identified legal requirements

|  | We have established process for evaluating compliance | Confirmed. |
| --- | --- | --- |
|  | We have assigned evaluation and compliance roles and responsibilities | Confirmed. |
|  | Date legal requirements were last reviewed: | 1/1/20 |
|  | Who reviewed: | Jane Doe |

Top Management Approval

|  | Date approved: | 8/1/20 |
| --- | --- | --- |
|  | Who approved: | Jim Doe |

Comments

Click here to enter text.