Date last modified/updated: Click here to enter a date.            Internal audit: Click here to enter a date.

For Task 1: This part of the Navigator Playbook is completed when you have:

- Identified the external and internal issues that affect your organization’s ability to improve its energy performance and achieve the intended outcomes of the EnMS.

- Recorded this information.

Add this information to the Risks and Opportunities Register (below) by completing columns one through three.

For Task 7 outputs: This part of the Navigator Playbook is completed when you have:

  - Identified the impacts, likelihood of occurrence, and risk level arising from the issues you already recorded

  - For each of the identified risks and opportunities, plan and implement actions to address them using the processes of the EnMS.

Add this information to the Risks and Opportunities Register (below) by completing columns four through eight.

Who last modified/updated: Click here to enter text.               Management review: Click here to enter a date.

Risks and Opportunity Register

| Task 1 |  |  | Outputs for Task 7 |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Internal or external (I or E) | Risk or opportunity (R or O) | Issue | Impact on EnMS (1-3) | Likelihood (1-3) | Risk Level (Low, Medium, High) | Action to address | Effectiveness Evaluation |
| I | R | Reduced operating budget and reduced staffing levels | 3 | 3 | 9 High | Identify and pursue low- or no-cost opportunities that can be incorporated into standard operating procedures, while using existing communications channels to maintain and improve employee awareness of no-cost opportunities. |  |
| I | R | Reduced capital project budget | 3 | 3 | 9 High | Determine the highest ROI projects to be proposed. Look for opportunities where the cost may be offset by rebates/incentives |  |
| E | R | Changes to ventilation requirements in response to COVID-19 | 1 | 3 | 3 Low | Develop a strategy to minimize energy use while achieving new guidelines; inspect and maintain outside air dampers and controls; and engage controls contractors to help assist engineering department with best way to meet CDC requirements with greatest efficiencies to control energy cost |  |
| E | O | City Mandates | 3 | 3 | 9 High | The City has introduced several mandates and local laws for mandatory benchmarking and energy performance improvements. While this may be viewed by some as a risk it may be an opportunity to get faster approval for energy saving projects, so look for ways to leverage the mandates. |  |
| I | R | Team buy in | 3 | 2 | 6 Med | Work to reinforce benefits of energy management practices. |  |
| E | O | Corporate commitment to sustainability | 3 | 3 | 9 High | Reinforce areas of alignment between the EnMS and the corporate sustainability commitment. |  |
| E | R | Extreme weather events | 3 | 2 | 6 Med | Ensure that the EnMS addresses resilience to extreme weather. |  |

This column to be completed in Task 7

Top Management Approval

| ☐ | Date approved: | Click here to enter a date. |
| --- | --- | --- |
| ☐ | Who approved: | Click here to enter text. |

Comments

Click here to enter text.